## Slide 1: Chapter 6 - Chromatography
Week 3, Lesson 3

## Slide 2: Chromatography
Chromatography is a technique that is used to separate the substances present in a mixture.
It is also widely used to determine the identity of a substance.
All methods of chromatography have a stationary phase and a moving, or mobile phase.
As the components in the ink are swept forward over the stationary phase by the solvent they undergo a continual process of adsorption onto the solid stationary phase, followed by desorption back into the liquid mobile phase.
The rate of movement of each component depends mainly upon:
  How strongly it adsorbs onto the stationary phase
  How readily it dissolves in the mobile phase.

## Slide 3: Thin Layer Chromatography
Thin Layer Chromatography is very similar to paper chromatography.
In this case, the stationary phase is a thin layer of fine powder such as alumina spread on a glass or plastic plate.
This is used for qualitative analysis.
In thin layer chromatography a solution of the sample to be analysed is made up and a small a spot is placed onto the end of chromatography plate.
The position of this spot is called the origin.
The plate is then placed in a container with the edge of the plate below the spot submerged in a solvent.
It is important to have the origin above the level of the solvent, so that it can be transported up the plate and not dissolve into the liquid in that beaker.

## Slide 4: Interpreting Chromatograms of Thin-Layer and Paper Chromatography
A chromatogram is the pattern of bands or spots formed on the plate in thin layer chromatography or on the paper in paper chromatography.
The identity of the chemicals in the mixture can be identified in two ways:
Running standards of known chemicals on the same chromatogram as the unknown sample.
Calculating the Rf value of the sample.

## Slide 5: Method 1
It is necessary to have some idea of the chemical that you are looking for in a sample.
For example, if you want to find out if a vitamin tablet contains vitamin A and D, a sample of the vitamin tablet must be run on the same chromatogram as a pure sample of Vitamin A and D.
If spots from the sample of tablet move the same distance from the origin as the spots from the pure samples, then the tablet is likely to contain vitamins A and D.
The sample and standard must be run on the same chromatogram because the distances moved from the origin will depend on the distance moved by the solvent front.

## Slide 6: Method 2
The components of the mixture can be identified by the distance they travel along the stationary phase compared to the distance travelled by the solvent front.
This is expressed as an Rf value for the component:
Rf = distance moved from the origin by component
distance moved from origin by solvent

## Slide 7: Method 2 cont…
Rf values will always be less than one.
The component most strongly adsorbed onto the stationary phase moves the shortest distance and has the lowest Rf value.
By comparing the Rf values of components in a particular mixture with the Rf values of known substances under identical conditions, the compounds present can be identified.
In this method, the distance moved by the solvent front is no longer critical as the proportion of the distance moved form the origin stays the same, provided the conditions under which the chromatogram is run are the same.
Changes in the temperature, the type of stationary phase, the amount of water vapour around the plate or paper and the type of solvent will all change the Rf value of a particular chemical.

## Slide 8: Paper vs Thin Layer Chromatography
Paper Chromatography | Thin-Layer Chromatography
Cheap | Faster
Little Preparation | Detects smaller amounts
More efficient for polar and water-soluble compounds | Better separation of less polar compounds
Easy to handle and store | Corrosive materials can be used
A wide range of stationary phases available | 

## Slide 9: Column Chromatography
Column chromatography can be used to separate the components in a mixture.
The stationary phase is a solid, or a solid that has been thinly coated in a viscous liquid and packed into a glass column.
The sample is applied carefully to the top of the packing and a solvent, which acts as the mobile phase, is dripped slowly onto the column from the reservoir above.
A tap at the bottom of the column allows the solvent, which is called the eluent, to leave the bottom of the column at the same rate as it enters it at the other end.

## Slide 10: Column Chromatography cont…
There are two instrumental chromatographic techniques based on column chromatography; high performance liquid chromatography (HPLC) and gas chromatography.
These methods are commonly used for separation and identification of very complex mixtures of similar compounds, such as drugs in blood and hydrocarbons in oil samples.

## Slide 11: High Performance Liquid Chromatography
Is used routinely for pharmaceutical and industrial analyses.
There are many ways in which this process differs from traditional chromatography.
For instance, in HPLC:
  The size of the particle in the solid used in the column is often 10-20 times smaller than in column chromatography.
  The small size of particles allows for more frequent adsorption and desorption of the components, given better separation.
  The small particle size creates a considerable resistance to the flow of mobile phase and so solvent is pumped through under high pressure – 14000kPa.
  A range of solids is available for use in HPLC columns, some with chemicals specially bonded to their surfaces to improve the separation of particular classes of compounds.

## Slide 12: HPLC cont…
In HPLC, the components are usually detected by passing the eluent stream through a beam of UV light.
Many organic compounds absorb light, so what an organic compound passes in front of a beam of light, a reduced signal is picked up by the detector,
The amount of light received by the detector is recorded on a chart that moves slowly at a constant speed.
This is known as a chromatogram.
The time taken for a component to pass through the column is called the retention time, Rt, and is characteristic of the compound for the conditions of the experiment.
The retention times are used to identify the components associated with the peaks on a chromatogram.
The relative amounts of each component in a mixture may be determined by comparing the areas under each peak with the areas under peaks for standard samples.

## Slide 13: Gas Chromatography
This is the most sensitive of the chromatographic techniques.
However, it is limited to compounds that can be readily vaporised without decomposing.
Such compounds usually have relative molecular masses less than 300.
The extreme sensitivity of gas chromatography makes it ideal for the analysis of trace contaminants in samples of the detection of tiny amounts of very potent compounds.
There are two types of gas chromatography; gas-liquid chromatography (GLC) and gas-solid chromatography (GSC).

## Slide 14: Gas Chromatography cont…
Gas chromatography has the following features:
  The mobile phase is a gas, generally nitrogen, called the carrier gas.
  A small amount of sample is injected into the top of the column through an injection port.
  The injection port is heated to a temperature sufficient to instantly vaporise the sample, which is then swept into the column by the carrier gas.
  The column is a loop or series of loops of glass that has an internal diameter of about 4mm and is 2-3m long in total. In GLC the column is packed with a porous solid that has been coated with a liquid hydrocarbon or ester with a high boiling point. In GSC the column is packed with an adsorbant solid such as silica gel or alumina. The solid acts as a solid stationary phase.
  The column is mounted in an oven and heated.
  The components of the sample repeatedly pass into and out of solution with the stationary phase. The least soluble are swept out first by the gas into the detector.

## Slide 15: Interpreting Chromatograms
The chromatogram shows the response of the detector against time.
The response of the solvent is constant and gives a flat baseline.
As components pass through the detector the response changes and a peak is formed.
The sample is injected into the column at time zero.
Different chemicals show different strengths of attraction to the stationary phase and the mobile phase, and so pass through the column at different rates.
Each component forms one peak on the chromatogram.

## Slide 16: Summing Up
Both gas chromatography and HPLC can be combined with another analytical technique, mass spectrometry,.
Together the techniques allow chemists to determine smaller and smaller quantities and identify a wide range of materials, as well as gain valuable information about the structures of the compounds.